## Group 1 Readings
Laboratory Practical Date
Laboratory Practical Group
Glucose Sensor |  | Accu-check Aviva | Glucose Sensor |  | Accu-check Performa |  |  |  | Glucose Sensor |  | eBwell |  |  |  | Glucose Sensor |  | TrueMetrix
Code |  |  | Code | [5 empty] | Code | [5 empty] | Code
Strip Expiry Date |  |  | Strip Expiry Date | [5 empty] | Strip Expiry Date | [5 empty] | Strip Expiry Date
Sample | Reading/Readings |  | Sample | Reading/Readings |  | mg/dL |  |  | Sample | Reading/Readings |  | mmol/L |  |  | Sample | Reading/Readings |  | mmol/L
A |  |  | A | E1 error ('test strip may be damaged…' |  |  |  |  | A | [5 empty] | A | E0 - 'Invalid haematocrit'
B |  |  | B | E1 error ('test strip may be damaged…' |  |  |  |  | B | [5 empty] | B | E0 - 'Invalid haematocrit'
C |  |  | C | [5 empty] | C | [5 empty] | C
D |  |  | D | [5 empty] | D | 11.1 | 10.7 |  |  |  | D
A* |  |  | A* | [5 empty] | A* | [5 empty] | A*
B* |  |  | B* | [5 empty] | B* | [5 empty] | B*
C* |  |  | C* | 5.4 | 5.5 | 5.6 |  |  | C* | [5 empty] | C*
D* |  |  | D* | [5 empty] | D* | 9.3 | 10.4 | 10.1 |  |  | D* | 6.9 | 6.6 | 6.7
F* |  |  | F* | LO |  |  |  |  | F* | Lo | Lo |  |  |  | F* | E5 'to much blood glucose'
G* |  |  | G* | 6.4 | 6.4 |  |  |  | G* | [5 empty] | G* | 6.6
[6 empty] | Accucheck | [5 empty] | ebwel | [5 empty] | 1
|  |  |  | mg/dL | mM | Measured | Diff | % |  | mg/dL | mM | Measured | Diff |  |  | mg/dL | mM | Measured | Diff
|  |  | C | 110 | 6.1 | 0 | 110 | 100 | C | 110 | 6.1 | 11.1 | -5 | -81.9672 | C | 110 | 6.1 | 0 | 110
|  |  | D | 130 | 7.2 | 0 | 130 | 100 | D | 130 | 7.2 | 0 | 7.2 | 100 | D | 130 | 7.2 | 0 | 130
|  |  | A* | 70 | 3.9 | 0 | 70 | 100 | A* | 70 | 3.9 | 0 | 3.9 | 100 | A* | 70 | 3.9 | 0 | 70
|  |  | B* | 90 | 5 | 0 | 90 | 100 | B* | 90 | 5 | 0 | 5 | 100 | B* | 90 | 5 | 0 | 5 | 100
|  |  | C* | 110 | 6.1 | 98 | 12 | 10.9091 | C* | 110 | 6.1 | 9.3 | -3.2 | -52.459 | C* | 110 | 6.1 | 6.6 | -0.5 | -8.1967
|  |  | D* | 130 | 7.2 | 0 | 130 | 100 | D* | 130 | 7.2 | 9.3 | -2.1 | -29.1667 | D* | 130 | 7.2 | 6.9 | 0.3 | 4.1667
0
0
|  |  | G* | 90 | 5 | 0 | 90 | 100 | G* | 90 | 5 | 0 | 5 | 100 | G* | 90 | 5 | 0 | 5 | 100

## Group 1 Marking Criteria
Meter | Accu-Check | eBWell | TrueMetrix | Weighting
Accuracy | 3 | 1 | 4 | 10
Precision | 3 | 2 | 4 | 9
Clarity of Instructions | 4 | 4 | 5 | 5
Ease of Use | 5 | 3 | 4 | 7
Display of Result | 3 | 4 | 3 | 5
Extent of Design | 3 | 4 | 3 | 1
User Acceptance | 3 | 5 | 4 | 3
Weighted scores
Accuracy | 30 | 10 | 40
Precision | 27 | 18 | 36
Clarity of Instructions | 20 | 20 | 25
Ease of Use | 35 | 21 | 28
Display of Result | 15 | 20 | 15
Extent of Design | 3 | 4 | 3
User Acceptance | 9 | 15 | 12
Weighted total | 139 | 108 | 159