## Group 1 Readings
Laboratory Practical Date
Laboratory Practical Group
Glucose Sensor |  | Accu-check Aviva | Glucose Sensor |  | Accu-check Performa | Glucose Sensor |  | eBwell |  | Glucose Sensor |  | TrueMetrix
Code |  |  | Code |  | 690021 | Code |  | I2C0C2B01 |  | Code |  | ZY4523SUKT
Strip Expiry Date |  |  | Strip Expiry Date |  | 31.01.23 | Strip Expiry Date |  | 22.03.2024 |  | Strip Expiry Date |  | 30.04.2023
Sample | Reading/Readings |  | Sample | Reading/Readings |  | Sample | Reading/Readings |  |  | Sample | Reading/Readings
A |  |  | A |  |  | A |  |  |  | A
B |  |  | B |  |  | B |  |  |  | B
C |  |  | C |  |  | C |  |  |  | C
D |  |  | D |  |  | D |  |  |  | D
A* |  |  | A* | 3.4 |  | A* | 4.8 |  |  | A* | 3.2
B* |  |  | B* | 4.6 |  | B* | 6.8 |  |  | B* | 4.4
C* |  |  | C* | 5.6 |  | C* | 8.1 |  |  | C* | 5.6
D* |  |  | D* | 6.6 |  | D* | 10.3 |  |  | D* | 6.7
F* |  |  | F* | E-6 | L0 | F* | L0 |  |  | F* | E-5
G* |  |  | G* | 6.8 | 6.8 | G* | 10 | 10.1 | 9.7 | G* | E-2 | 6.6
|  |  |  | E-6 | Blood/solution was applied to the strip before flashing drop symbol appeared on display - discard strip | [5 empty] | E-5 | Test strip error or very high blood glucose result
|  |  |  | L0 | Blood glucose may be lower than the measuring range of the system |  | L0 | Your blood glucose level is lower than 20 mg/ml or 1.1mM/l |  |  | E-2 | Sample not detected or sample drop on top of test strip

## Group 1 Marking Criteria
Scores 1-5 |  |  |  | Weighting 1-10
Meter | Accu-Check | eBWell | TrueMetrix | Weighting
Accuracy | 3.5 | 2 | 3 | 10
Precision | 5 | 2.5 | 3 | 7
Clarity of Instructions | 3 | 4 | 3.5 | 2
Ease of Use | 4 | 5 | 2.5 | 7
Display of Result | 4.5 | 5 | 1 | 8
Extent of Design | 4 | 1 | 2.5 | 6
User Acceptance | 3 | 2.5 | 1 | 3
Weighted scores
Accuracy | 35 | 20 | 30
Precision | 35 | 17.5 | 21
Clarity of Instructions | 6 | 8 | 7
Ease of Use | 28 | 35 | 17.5
Display of Result | 36 | 40 | 8
Extent of Design | 24 | 6 | 15
User Acceptance | 9 | 7.5 | 3
Weighted total | 173 | 134 | 101.5