## Group 1 Readings
Laboratory Practical Date
Laboratory Practical Group
Glucose Sensor |  | Accu-check Aviva | Glucose Sensor |  | Accu-check Performa |  | Glucose Sensor |  | eBwell |  | Glucose Sensor |  | TrueMetrix
Code |  |  | Code |  |  |  | Code |  |  |  | Code
Strip Expiry Date |  |  | Strip Expiry Date |  |  |  | Strip Expiry Date |  |  |  | Strip Expiry Date
Sample | Reading/Readings |  | Sample | Reading/Readings |  | mg/dl | Sample | Reading/Readings |  | mM | Sample | Reading/Readings |  | mM
A |  |  | A |  |  |  | A |  |  |  | A
B |  |  | B |  |  |  | B |  |  |  | B
C |  |  | C |  |  |  | C |  |  |  | C
D |  |  | D |  |  |  | D |  |  |  | D
A* |  |  | A* | 6.4 | 6.5 | 6.5 | A* | 4.8 | 5.2 | 4.7 | A* | 3.1 | 3.3 | 3.4
B* |  |  | B* | 4.6 | 4.6 | 4.7 | B* | 7.3 | 6.2 | 6.2 | B* | 4.2 | 4 | 4.3
C* |  |  | C* | 5.7 |  |  | C* | 8.2 |  |  | C* | 4.2
D* |  |  | D* | 6.6 |  |  | D* |  |  |  | D*
F* |  |  | F* |  |  |  | F* |  |  |  | F*
G* |  |  | G* |  |  |  | G* |  |  |  | G*
|  |  |  | 0.90857 | 0.90714 | 0.90714 |  | -0.23077 | -0.33333 | -0.20513 |  | 0.20513 | 0.15385 | 0.12821
|  |  |  | 0.94889 | 0.94889 | 0.94778 |  | -0.46 | -0.24 | -0.24 |  | 0.16 | 0.2 | 0.14
|  |  |  | 0.94818 | 1 | 1

## Group 1 Marking Criteria
Meter | Accu-Check | eBWell | TrueMetrix | Weighting
Accuracy | 6 | 2 | 4 | 8
Precision | 8 | 3 | 7 | 8
Clarity of Instructions | 4 | 4 | 2 | 5
Ease of Use | 4 | 5 | 2 | 5
Display of Result | 4 | 5 | 2 | 5
Extent of Design | 5 | 4 | 2 | 5
User Acceptance | 5 | 4 | 3 | 5
Weighted scores
Accuracy | 48 | 16 | 32
Precision | 64 | 24 | 56
Clarity of Instructions | 20 | 20 | 10
Ease of Use | 20 | 25 | 10
Display of Result | 20 | 25 | 10
Extent of Design | 25 | 20 | 10
User Acceptance | 25 | 20 | 15
Weighted total | 222 | 150 | 143